| About the Measure |
| --- |
| Domain: (included in Community Outreach and Supplemental Information) | Diabetes |
| Measure: (included in Community Outreach and Supplemental Information) | Cystatin C Assay for Kidney Function |
| Definition: (included in Community Outreach and Supplemental Information) | A bioassay to measure serum concentration of cystatin C, a protein that is filtered out of the blood by the kidneys. |
| Purpose: | Serum cystatin C concentrations can be used to calculate glomerular filtration rate and therefore kidney function. Although not yet standardized, calculations of glomerular filtration rate using cystatin C can be more accurate than those using serum creatinine because they are not altered by diet and muscle mass (Stevens et al., 2008) |

| About the Protocol (PLEASE fill out a new table for each alternate protocol, this will make the data loading much faster) |
| --- |
| Description of Protocol: (included in Community Outreach and Supplemental Information) | This protocol provides instructions for drawing, processing and storing blood for the serum cystatin C assay according to the National Health and Nutrition Examination Survey (NHANES) methods. As there are no standard assays for cystatin C, the protocol also provides basic guidelines to aid comparability among different studies. The Diabetes Working Group recommends that the cystatin c assay can be done in conjunction with serum creatinine to yield more information about kidney disease. In particular, comparing and contrasting the polymorphisms associated with each assay can identify "true" markers for kidney function (see Kottgen et al., 2009 for more information). |
| Protocol text: (included in Community Outreach and Supplemental Information) | The following is a summary version of the full National Health and Nutrition Examination Survey 2007-2008 protocol. Exclusion Criteria Persons will be excluded from this component if they: Report that they have hemophilia; or Report that they have received cancer chemotherapy in the last 4 weeks SP= Sample Person. 1. Do you have hemophilia? [ ] 1 Yes [ ] 2 No [ ] 7 Refused [ ] 9 Don't Know If the SP answers, “Yes,” the SP is excluded from the blood draw. If SP answer “No” or “Don’t Know,” blood is drawn from the SP. 2. Have you received cancer chemotherapy in the past four weeks or do you anticipate such therapy in the next four weeks? [ ] 1 Yes [ ] 2 No [ ] 7 Refused [ ] 9 Don't Know If the SP answers, “Yes,” the SP is excluded from the blood draw. If SP answer “No” or “Don’t Know,” blood is drawn from the SP. Note from the Diabetes Working Group: The investigator should record the reason a sample person is excluded from the blood draw. Venipuncture Procedures Editor's Note: Please review chapter 4 of the Laboratory Procedures Manual from the National Health and Nutrition Examination Survey for a full description of Phlebotomy procedures: [link[ 2007-2008 NHANES Lab Manual ¦ NHANES_Lab_Manual.pdf ]]. Venipuncture should generally be performed using the median cubital, cephalic, or basilic veins in the left arm unless this arm is unsuitable. If the veins in the left arm are unsuitable, look for suitable veins on the right arm. If the veins in the antecubital space on both arms are not suitable, then look for veins in the forearm or dorsal side of the hand on the left arm/hand and then the right arm/hand. Note from the Diabetes Working Group: Blood should be collected in an appropriate 5- or 10-mL red-top tube. Record the Results of the Venipuncture Procedure Immediately after completing the venipuncture, record the results of the blood draw, the reasons for a tube not being drawn according to the protocol, and any comments about the venipuncture. Note from the Diabetes Working Group: The Diabetes Working Group recommends that the investigator record whether the blood was drawn and whether the full amount was obtained. Process the Sample for the Cystatin C Assay Editor's Note: Please review chapter 8 of the Laboratory Procedures Manual from the National Health and Nutrition Examination Survey 2007-2008 for a full description of Blood Processing procedures: [link[ 2007-2008 NHANES Lab Manual ¦ NHANES_Lab_Manual.pdf ]]. Allow the blood to clot by setting aside for 30 to 45 minutes at room temperature. Do not clot for more than an hour. Centrifuge the tube at room temperature to separate the serum and aliquot into an appropriate storage tube. Determine if the serum is hemolyzed, turbid, lipemic, or icteric. If so, enter a comment to describe the plasma. Note from the Diabetes Working Group: Serum should be stored at -80(C until testing and shipped on dry ice to prevent thawing. Laboratory Assay for Cystatin C The Diabetes Working Groups notes that although there is not a standardized assay, there are many different kits which are appropriate to measure the concentration of cystatin C in serum. Once an assay is chosen for a particular study, the Working Group recommends that no changes in the protocol be made over the course of the study. To aid comparability, the Diabetes Working Group recommends that the investigator record the make and manufacturer of equipment used and the repeatability and coefficients of variation for the assay. Reference Ranges Cystatin C ranges between 0.57 - 1.12 mg/L Estimated Glomerular Filtration Rate: estimated Glomerular Filtration Rate = 127.7 X Cystatin C -1.17 X Age -0.13 X [0.91 if Female] X [1.06 if African American] Stevens, LA, Coresh, J, Schmid, CH, Feldman, HI, Froissart, M, Kusek, J, Rossert, J, Van Lente, F, Bruce, RD, Zhang, Y, Greene, T, & Levey, AS. (2008). Estimating GFR using serum cystatin c alone and in combination with serum creatinine: a pooled analysis of 3,418 individuals with CKD. American Journal of Kidney Diseases. 51(3), 395-406. |
| Participant: (included in Community Outreach and Supplemental Information) | Participant 6 years of age or older. |
| Source: (included in Community Outreach and Supplemental Information) | Centers for Disease Control and Prevention (CDC). National Center for Health Statistics (NCHS). National Health and Nutrition Examination Survey Questionnaire. Laboratory Procedures Manual. Hyattsville, MD: U.S. Department of Health and Human Services, Centers for Disease Control and Prevention, 2007. |
| Personnel and Training Required: (included in Supplemental Information) | Phlebotomist Laboratory that can perform the cystatin c assay |
| Equipment Needs: (included in Supplemental Information) | Phlebotomy supplies |
| General References: (included in Supplemental Information) | Stevens, LA, Coresh, J, Schmid, CH, Feldman, HI, Froissart, M, Kusek, J, Rossert, J, Van Lente, F, Bruce, RD, Zhang, Y, Greene, T, & Levey, AS. (2008). Estimating GFR using serum cystatin c alone and in combination with serum creatinine: a pooled analysis of 3,418 individuals with CKD. American Journal of Kidney Diseases. 51(3), 395-406. Köttgen A, Glazer NL, Dehghan A, Hwang SJ, Katz R, Li M, Yang Q, Gudnason V, Launer LJ, Harris TB, Smith AV, Arking DE, Astor BC, Boerwinkle E, Ehret GB, Ruczinski I, Scharpf RB, Ida Chen YD, de Boer IH, Haritunians T, Lumley T, Sarnak M, Siscovick D, Benjamin EJ, Levy D, Upadhyay A, Aulchenko YS, Hofman A, Rivadeneira F, Uitterlinden AG, van Duijn CM, Chasman DI, Paré G, Ridker PM, Kao WH, Witteman JC, Coresh J, Shlipak MG, & Fox CS. (2009). Multiple loci associated with indices of renal function and chronic kidney disease. Nature Genetics. 41(6), 712-717 |