Data Collection Worksheet

Please Note: The Data Collection Worksheet (DCW) is a tool to aid integration of a PhenX protocol into a study. The PhenX DCW is not designed to be a data collection instrument. Investigators will need to decide the best way to collect data for the PhenX protocol in their study. Variables captured in the DCW, along with variable names and unique PhenX variable identifiers, are included in the PhenX Data Dictionary (DD) files. Cotinine (COT) and trans-3’-hydroxycotinine (HC) are measured by an isotope-dilution high-performance liquid chromatography/atmospheric pressure chemical ionization tandem mass spectrometric (ID HPLC-APCI MS/MS) method. Briefly, the serum sample is spiked with methyl-D3-COT and methyl-D3-HC as internal standards. The sample is basified and then applied to a supported liquid extraction (SLE) plate. The analytes are extracted with an isopropanol/methylene chloride mixture, the organic extract is concentrated, and the residue is injected onto a C18 HPLC column. The eluent from these injections is monitored by APCI-MS/MS. The m/z 80 product ion from the m/z 177 quasi-molecular ion is measured for COT and the m/z 80 product ion from the m/z 193 quasi-molecular ion is measured for HC. Additional ions for the internal standards and for confirmation are also monitored for the respective compounds. Analyte concentrations are derived from the area ratios of native-to-labeled compounds in the sample by comparisons to a standard curve. The limit of detection (LOD) is 15 pg/ml.

The nicotine metabolite ratio is then calculated as the ratio of HC to COT.

Protocol source: https://www.phenxtoolkit.org/protocols/view/330401