Data Collection Worksheet

Please Note: The Data Collection Worksheet (DCW) is a tool to aid integration of a PhenX protocol into a study. The PhenX DCW is not designed to be a data collection instrument. Investigators will need to decide the best way to collect data for the PhenX protocol in their study. Variables captured in the DCW, along with variable names and unique PhenX variable identifiers, are included in the PhenX Data Dictionary (DD) files. TA: 6:03

PAT: 2

Voxel size: 1.0 x 1.0 x 1.0 mm

Rel. SNR: 1.00

Properties

Prio Recon
Before measurement
After measurement.......................................OffLoad to viewer.......................................OnInline movie.......................................OffAuto store images.......................................OnLoad to stamp segments.......................................OffLoad images to graphic segments.......................................OffAuto open inline display .......................................OffLoad to stamp segments.......................................OffLoad images to graphic segments.......................................OffAuto open inline display.......................................OffStart measurement without further preparation.......................................OnWait for user to start.......................................OnStart measurements.......................................single

Routine

Slab group 1
        Slab
        Dist. Factor
        Position
        Orientation
        Phase enc. dir.
        Rotation
.......................................1
.......................................50%
.......................................L0.0 A14.2 H0.7
.......................................S > C0.2
.......................................A >> P
.......................................0.00 degPhase oversampling.......................................0%Slice oversampling.......................................0.0%Slices per slab.......................................176FoV read.......................................256 mmFoV phase.......................................100.0%Slice thickness.......................................1.00 mmTR.......................................2530 msTE 1.......................................3.31 msTE 2.......................................6.99 msAverages.......................................1Concatenations.......................................1Filter.......................................Prescan NormalizeCoil elements.......................................HEA;HEP

Contrast

Magn. preparation .......................................Non-sel. IRTI .......................................1100 msFlip angle .......................................7.0 degFat suppr. .......................................NoneWater suppr. .......................................None

Averaging mode .......................................Long termReconstruction .......................................MagnitudeMeasurements .......................................1Multiple series .......................................Each measurement

Resolution

Base resolution .......................................256Phase resolution .......................................100%Slice resolution .......................................100%Phase partial Fourier .......................................OffSlice partial Fourier ....................................... OffInterpolation .......................................Off

PAT mode .......................................GRAPPAAccel. factor PE .......................................2Ref. lines PE .......................................32Matrix Coil Mode .......................................Auto (Triple)Reference scan mode .......................................Integrated

Image Filter .......................................OffDistortion Corr. .......................................OffUnfiltered images .......................................OffPrescan Normalize .......................................OnNormalize .......................................OffB1 filter .......................................OffRaw filter .......................................OffElliptical filter .......................................Off

Geometry

Multi-slice mode.......................................Single shotSeries.......................................Interleaved

System

Body .......................................OffHEP .......................................OnHEA .......................................On

Positioning mode .......................................FIXTable position .......................................HTable position .......................................0 mmMSMA .......................................S - C - TSagittal .......................................R >> LCoronal .......................................A >> PTransversal .......................................F >> HSave uncombined .......................................OffCoil Combine Mode .......................................Adaptive CombineAutoAlign .......................................Head > BrainAuto Coil Select .......................................Default

Shim mode .......................................StandardAdjust with body coil .......................................OffConfirm freq. adjustment .......................................OffAssume Silicone .......................................Off? Ref. amplitude 1H .......................................0.000 VAdjustment Tolerance .......................................AutoAdjust volumePosition .......................................L0.0 A14.2 H0.7Orientation .......................................S > C0.2Rotation .......................................0.00 degF >> H .......................................256 mmA >> P .......................................256 mmR >> L .......................................176 mm

Physio

1st Signal/Mode.......................................None

Dark blood.......................................Off

Inline

Subtract .......................................OffStd-Dev-Sag .......................................OffStd-Dev-Cor .......................................OffStd-Dev-Tra .......................................OffStd-Dev-Time .......................................OffMIP-Sag .......................................OffMIP-Cor .......................................OffMIP-Tra .......................................OffMIP-Time .......................................OffSave original images .......................................On

Sequence

Introduction .......................................OnDimension.......................................3DElliptical scanning .......................................OffAsymmetric echo.......................................OffContrasts .......................................2Bandwidth 1 .......................................195 Hz/PxBandwidth 2 .......................................651 Hz/PxFlow comp. 1 .......................................NoFlow comp. 2 .......................................NoEcho spacing .......................................10.1 ms

RF pulse type .......................................FastGradient mode .......................................FastExcitation .......................................Non-sel.RF spoiling .......................................On

Readout polarity.......................................PositiveReadout trajectory.......................................BipolarAdd. scale factor.......................................8.0Gradient spoiling.......................................IntegralGradient moment factor.......................................3.0Siemens reconstruction.......................................OnSave raw k-space data.......................................OffAveraging.......................................RMS Protocol source: https://www.phenxtoolkit.org/protocols/view/660501