| About the Measure |  |
| --- | --- |
| Domain | Early Psychosis |
| Measure | White Matter Integrity |
| Definition | Microstructural imaging probes white matter integrity based on the pattern of diffusion of water molecules. This measure details the recommended sequence for performing a Diffusion Tensor Imaging (DTI) brain scan. |

| About the Protocol |  |
| --- | --- |
| Description of Protocol | Diffusion Tensor Imaging (DTI) sequence with full brain coverage. |
| Protocol Text | TA: 5:50 PAT: Off Voxel size: 1.8 × 1.8 × 3.5 mm Rel. SNR: 1.00 Properties Prio Recon ………………………………………………………........... Off Before measurement After measurement Load to viewer …………………………………...…………………...... On Inline movie …………...…………………………...……………........... Off Auto store images ………………………………………………........... On Load to stamp segments …………………………………………….... On Load images to graphic segments ………...…………………………. Off Auto open inline display ………...………………………………...…... Off Start measurement without further preparation ………......………... On Wait for user to start ………...……………………….………….......... On Start measurements ………...……………………………………... single Routine Slice group 1 Slices …..……………………………………..………………………. 42 Dist. Factor ………………………….…………………………....… 0% Position …..…….……………......…………………………… Isocenter Orientation ….……….……………………..……………… Transversal Phase enc. dir. ………………………………………….……… P >> A Rotation ……….…………………………………………… 180.00 deg Phase oversampling ………………………...……………...………… 0% FoV read ……………………..…………………………………… 224 mm FoV phase …………………………...…………………………… 100.0% Slice thickness …………………...…..…………………………… 3.5 mm TR ……………….………………………………………………… 6600 ms TE …………………..…………………….………………………..… 91 ms Averages ………………………….……………….……………………… 4 Concatenations ………………………….……………………..………… 1 Filter …………………………………..……………… Prescan Normalize Coil elements …………………………...……………………… HEA;HEP Contrast MTC …………………...…………………………………………........... Off Magn. preparation ………..……………………….………………… None Fat suppr. ….….…………………………………………………… Fat sat. - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Averaging mode …………………..…………………………… Long term Reconstruction ………………………………………………… Magnitude Delay TR ………………………….………………………………...… 0 ms Multiple series ……...…………..……………………………….……… Off Resolution Base resolution ……………………..…………………….…………… 128 Phase resolution ………………………….………………………... 100% Phase partial Fourier ………………………….……..……………...… 5/8 Interpolation ………………………….……….………………………… Off - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - PAT mode ……………..………………………………………….… NONE Matrix Coil Mode ………………….…………………….……… Auto (CP) - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Distortion Corr. ………………………….……………………………… Off Prescan Normalize ………………………….…………………….…… On Raw filter ………………………….………………………………..…… On Elliptical filter ………………………….………………………………… Off Hamming ………………………….…………………………..………… Off Geometry Multi-slice mode ……….……………………………………… Interleaved Series ………………………….……………….……………… Interleaved - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Special sat. ………………..……………………….………………… None - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - System Body ………………………….………………………………..………… Off HEP ……………………………………………...……………………… On HEA …………………………………………………...………………… On - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Positioning mode …………………….……………………..…….…… FIX Table position ……………………………………………….…………… H Table position ………………………….………...…..……………… 0 mm MSMA ………………………….………………….……………… S - C - T Sagittal ………………………….……………...…………………… R >> L Coronal ………………………….…………..……………………… A >> P Transversal ………………………….…...………………………… F >> H Coil Combine Mode ………….....…………………… Adaptive Combine AutoAlign ………...………………..…………..………………………… --- Auto Coil Select ………………………….…………...…………… Default - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Shim mode ………………………….…………………………… Standard Adjust with body coil ………………………….…………………..…… Off Confirm freq. adjustment ………………………….……………...…… Off Assume Silicone ………………………….…………..…………...…… Off ? Ref. amplitude 1H ………………………….………...………… 0.000 V Adjustment Tolerance ………………………….………………….… Auto Adjust volume Position …..…….……………......…………………………… Isocenter Orientation ….……….……………………..……………… Transversal Rotation ……….…………………………………………… 180.00 deg R >> L ……………………..…………………………………… 224 mm A >> P ……………….….……………………………………… 224 mm F >> H ………………………….……….……………………… 147 mm Physio 1st Signal/Mode ……………………….…………………………..… None - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - Resp. control …………………………………………………………… Off Diff Diffusion mode …………..…………………...…………………… MDDW Diff. weightings ………………………….……………..……….………… 2 b-value 1 …………….…………………….……………………… 0 s/mm2 b-value 2 …………….…………………….……………….… 1000 s/mm2 Diff. weighted images ………………………….………………….…… On Trace weighted images ………………………….……………….…… Off Average ADC maps ………………………………………………….… Off Individual ADC maps ……………………...……...…………………… Off FA maps ……………..……….………….……………………………… On Mosaic ……………..……….…………....……………………………… On Tensor ……………..……….………….……...………………………… On Noise level ……………..……….….…….……………………………… 40 Diff. directions …...…..……….………….……………………………… 12 Sequence Introduction ………………..…….……………………………………… Off Bandwidth …….…….………………………………………… 1698 Hz/Px Free echo spacing …………………….………….………..………..… Off Echo spacing ………………………….…………………..……… 0.69 ms - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - EPI factor ……………………………………………………………..... 128 RF pulse type …………………….……….…………….………… Normal Gradient mode ………………………….……………………..…..… Fast* |
| Participant | Adolescents and adults, ages 12 and older |
| Rationale for Inclusion in Supplemental Information | Diffusion tensor imaging (DTI) provides unique and valuable information about white matter integrity in early psychosis. The Early Psychosis Working Group recommended obtaining this dataset wherever possible. However, DTI requires specialized expertise and equipment to obtain in reliable and reproducible fashion. Therefore, this measure is more appropriate for inclusion as Supplemental Information instead of in the Toolkit. |
| Source | Magnetic resonance imaging (MRI) diffusion tensor imaging (DTI) parameters courtesy of Dr. Ongur and colleagues, McLean Hospital/Harvard Medical School, 115 Mill St., Belmont, MA 02478. |
| Language of Source | English |
| Personnel and Training Required | All sites collecting diffusion tensor imaging (DTI) data must have a PhD-level magnetic resonance (MR) physicist on site for implementation; assistance with acquisition (not required to be present at every scan, but required for ongoing quality control [QC] and monitoring); and data analysis. The DTI technician collecting data should be trained in the administration of DTI scans with respect to positioning and instructing the subject (e.g., not to move), running the scanner console, and assessing whether appropriate data were collected. |
| Equipment Needs | Diffusion tensor imaging (DTI) requires a 3T or higher field strength magnetic resonance (MR) scanner. |
| Protocol Type | Complex instrumentation-based assessment |
| General References | Alvarado-Alanis, P., León-Ortiz, P., Reyes-Madrigal, F., Favila, R., Rodríguez-Mayoral, O., Nicolini, H., Azcárraga, M., Graff-Guerrero, A., Rowland, L. M., de la Fuente-Sandoval, C. (2015). Abnormal white matter integrity in antipsychotic-naïve first-episode psychosis patients assessed by a DTI principal component analysis. Schizophrenia Research, 162(1–3), 14–21. doi:10.1016/j.schres.2015.01.019 Peters, B. D., Blaas, J., & de Haan, L. (2010). Diffusion tensor imaging in the early phase of schizophrenia: What have we learned? Journal of Psychiatric Research, 44(15), 993–104. doi:10.1016/j.jpsychires.2010.05.003 Schmidt, A., Lenz, C., Smieskova, R., Harrisberger, F., Walter, A., Riecher-Rössler, A., Simon, A., Lang, U. E., McGuire, P., Fusar-Poli, P., & Borgwardt, S. J. (2015). Brain diffusion changes in emerging psychosis and the impact of state-dependent psychopathology. Neurosignals, 23(1), 71–83. doi:10.1159/000442605 Siemens Healthcare USA |
| Process and Review | N/A |