| About the Measure |  |
| --- | --- |
| Domain | Environmental Exposures |
| Measure | Blood, Hair, and Saliva Assays for Tobacco Smoke Exposure |
| Definition | To assess smoking and environmental tobacco smoke (ETS) exposure by measuring cotinine, a metabolite of nicotine. Blood (serum), hair, or saliva specimen may be used for the bioassay. |

| About the Protocol |  |
| --- | --- |
| Description of Protocol | A biospecimen is collected from the respondent to measure cotinine, a marker of either smoking or of environmental tobacco smoke (ETS) exposure. The most common methods are via a blood (serum), urine, hair, or saliva sample obtained from the respondent. Note: urine protocol is found in the PhenX Toolkit: https://www.phenxtoolkit.org/index.php?pageLink=browse.protocoldetails&id=91701 Cotinine in a serum sample may be quantified by isotope dilution–high-performance liquid chromatography–atmospheric pressure chemical ionization-tandem mass spectrometry (ID HPLC-APCI MS/MS) and measured in saliva by a High-Sensitivity Salivary Cotinine Quantitative EIA Kit. Hair nicotine/cotinine is a useful biomarker of longer-term smoke exposure and a small amount of hair may represent smoke exposure over a period of 2–3 months. Hair nicotine is measured by isotope dilution gas chromatography mass spectrometry. |
| Protocol Text | Blood (serum): a trained nurse or phlebotomist collects blood via standard venipuncture procedures in a sterile 3-mL standard, non-anticoagulated Vacutainer® tube. The blood may be centrifuged 30-60 minutes after clotting. 1.5 mL is the minimum amount of serum needed and 2 mL is preferred. Aliquot the serum into polypropylene cryovials and then freeze at -20°C until analysis. Serum cotinine is measured by an isotope dilution-high performance liquid chromatography/atmospheric pressure chemical ionization tandem mass spectrometry (ID HPLC-APCI MS/MS). The detection limit was 0.015 ng/mL and the below the limit of detection value was 0.011ng/mL. See source references for details. Hair: a trained interviewer or technician uses scissors to cut a small amount of hair (approximately 30 milligrams) close to the rear of the person’s scalp and approximately 3 centimeters in length. Each hair sample is stored in a clean envelope with the cut end of the hair identified. Store envelopes in a refrigerator until analysis. The hair is weighed, spiked (i.e., a known quantity of analyte is added) to 3.3 ng/mg, and liquid-liquid extraction is performed by shaking the sample for 60 minutes. The hair is added to a centrifuge tube and washed with dichloromethane to remove nicotine/cotinine that has adhered to the surface. After the hair is dry, complete the extraction process described in the Kim et al. (2009) manuscript. Finally, perform isotope dilution gas chromatography mass spectrometry on the hair sample to identify the hair nicotine/cotinine concentration in ng/mg. Saliva: the respondent should insert the oral swab under his/her tongue, keep in place for 1 to 2 minutes, and then insert the swab into the collection tube. Whole saliva may also be collected by allowing it to pool on the floor of the mount and passing through a Saliva Collection Aid into a polypropylene vial; 0.5 mL of saliva is sufficient to perform cotinine analysis on the sample. Refrigerate sample within 30 minutes after collection, and then freeze within 4 hours at -20° C until analysis. Note: oral swabs should not be used for children under the age of 6. Sorbettes® and cotton rope are alternatives for young children. Saliva samples may be analyzed via kits such as the Salivary Cotinine Quantitative Immunoassay Kit available through Salimetrics®. Batches of frozen samples may also be shipped directly to a laboratory such as Salimetrics® for analysis. Vacutainer® is a registered trademark of Becton, Dickinson and Company. Salimetrics® is a registered trademark of Salimetrics LLC. Sorbettes® is a registered trademark of Salimetrics LLC. |
| Participant | All ages (for serum and hair test); ages 6+ (for saliva test). |
| Source | Blood (Serum) National Center for Health Statistics. (2008). National Health and Nutrition Examination Survey (NHANES), 2011–2012. Laboratory Procedure Manual for Cotinine. http://www.cdc.gov/nchs/data/nhanes/nhanes_11_12/COT_G_met_cotinine.pdf National Center for Health Statistics. (2011). National Health and Nutrition Examination Survey (NHANES), 2011–2012. Laboratory Procedures Manuals. http://www.cdc.gov/nchs/nhanes/nhanes2011-2012/manuals11_12.htm Hair Kim, S. R., Wipfli, H., Avila-Tang, E., Samet, J., & Breysse, P. (2009). Method validation for measurement of hair nicotine level in nonsmokers. Biomedical Chromatography, 23, 273–279. Saliva Salimetrics LLC. (2014). Salivary cotinine quantitative enzyme immunoassay kit. Carlsbad, CA: Author. https://www.salimetrics.com/assets/documents/1-2002.pdf Salimetrics LLC. (2015). Saliva collection and handling advice (3rd ed.). Carlsbad, CA: Author. https://www.salimetrics.com/assets/documents/Saliva_Collection_Handbook.pdf |
| Language of Source | English |
| Personnel and Training Required | Venipuncture is necessary to obtain blood for serum analysis. Venipuncture requires a trained nurse or phlebotomist. Hair or saliva samples can be self-collected by children aged 10 or older, with adequate instructions. A laboratory technician trained to process and analyze biological specimens is necessary to analyze serum, hair, or saliva samples. |
| Equipment Needs | Standard venipuncture and hair and saliva collection supplies that have been sterilized are necessary. Laboratory supplies and instruments are needed to measure cotinine in the biological fluids. Biological samples may be shipped to laboratories that specialize in these types of analysis. |
| Protocol Type | Bioassay |
| General References | Benowitz, N. L. (1999). Biomarkers of environmental tobacco smoke exposure. Environmental Health Perspectives, 107(Suppl. 2), 349–355. Benowitz, N. L. (1996). Cotinine as a biomarker of environmental tobacco smoke exposure. Epidemiologic Reviews, 18(2), 188–204. Dhar, P. (2004). Measuring tobacco smoke exposure: Quantifying nicotine/cotinine concentration in biological samples by colorimetry, chromatography and immunoassay methods. Journal of Pharmaceutical and Biomedical Analysis, 35(2004), 155–168. Kuo, H. W., Yang, J. S., & Chiu, M. C. (2002). Determination of urinary and salivary cotinine using gas and liquid chromatography and enzyme-linked immunosorbent assay. Journal of Chromatography. B, Analytical Technologies in the Biomedical Life Sciences, 768(2), 297–303. |
| Process and Review | The Expert Review Panel #2 (ERP 2) reviewed the measures in the Demographics, Social Environments, and Environmental Exposures domains. Guidance from ERP 2 includes: • Updated protocol Previous version in Toolkit archive (link) |