| About the Measure |  |
| --- | --- |
| Domain: (included in Community Outreach and Supplemental Information) | Obesity |
| Measure: (included in Community Outreach and Supplemental Information) | Magnetic Resonance Imaging (MRI) for Visceral Adipose Tissue (VAT) |
| Definition: (included in Community Outreach and Supplemental Information) | Magnetic Resonance Imagining (MRI) for Visceral Adipose Tissue (VAT) involves imaging at the L4-L5 level to determine visceral and subcutaneous abdominal fat. |
| Purpose: (included in Community Outreach and Supplemental Information) | Intra-abdominal obesity, which is characterized as increased adipose tissue surrounding the intra-abdominal organs (also referred to as visceral or central obesity) is an independent component of metabolic syndrome and the magnitude of obesity directly relates to the prognosis of this condition. Increased visceral adipose tissue (VAT) is associated with increased risk for metabolic derangements including glucose intolerance, insulin resistance, hyperlipidemia, metabolic syndrome, diabetes, cardiovascular disease and nonalcoholic fatty liver disease. |
| Essential PhenX Measures: (included in Community Outreach) | Height, Weight, Gender, Current Age |
| Related PhenX Measures: (included in Community Outreach) | Computed Tomography (CT) of the Abdominal Organs Body Composition Waist Circumference Body Mass Index Metabolic syndrome Insulin resistance Cytokines Lipid profile |
| Keywords: (included in Community Outreach) | Visceral Adipose Tissue, VAT, Obesity, Magnetic Resonance Imaging, MRI, Body Fat, Body Mass Index, BMI |
| Measure Release Date: | January 6, 2016 |

| About the Protocol |  |
| --- | --- |
| Protocol Release Date: | January 6, 2016 |
| PhenX Protocol Name: (included in Community Outreach) | Magnetic Resonance Imaging (MRI) for Visceral Adipose Tissue (VAT) |
| Protocol Name from Source: (included in Community Outreach) | Magnetic Resonance Imaging (MRI) for Visceral Adipose Tissue (VAT) |
| Description: (included in Community Outreach and Supplemental Information) | This protocol includes recommended technical and analytical procedures for estimating abdominal visceral adipose tissue (VAT) volume using magnetic resonance imaging (MRI) data based on a commonly employed procedure. MRI is a commonly used methodology, and this protocol is intended to reflect the summary in Demerath et al. (2007) and as supplemented by additional references noted below. |
| Specific Instructions: (included in Community Outreach) |  |
| Protocol: (included in Community Outreach and Supplemental Information) | Whole body Magnetic resonance imaging (MRI) scans for visceral adipose tissue (VAT) are performed by using a 1.5 T or greater system. From Demerath (2007): Abdominal MRI images are obtained using a T1-weighted fast-spin echo pulse sequence (TR 322 ms, TE 12 ms). The subjects are instructed to lie in the magnet in a supine position with arms extended above the head. A breath-hold sequence (≈22 s per acquisition) is used to minimize the effects of respiratory motion on the images. All images are acquired on a 256 × 256 mm matrix and a 480-mm field of view. Slice thickness is 10 mm, and images are obtained every 10 mm from the 9th thoracic vertebra (T9) to the first sacral vertebra (S1). Depending on the height of the person, this results in a total of 21–40 axial images per person. The images are retrieved from the scanner according to a DICOM (Digital Imaging and Communications in Medicine) protocol (National Electrical Manufacturer’s Association, Rosslyn, VA). Segmentation of the axial images into VAT and subcutaneous adipose tissue (SAT) areas are performed by 2 trained observers using image analysis software (Slice-O-Matic, version 4.2; Tomovision Inc, Montreal, Canada). Tagging of adipose tissue begins at the first image, containing the upper margin of the liver and continues down to the L5-S1 image, which increases the likelihood that all intraabdominal adipose tissue is included in the estimate. To calculate VAT and SAT volumes, the VAT and SAT areas for each image are summed across all images. A significant advantage of the contiguous image approach is that no geometrical assumptions have to be made regarding how to interpolate between consecutive slices for the calculation of total volumes. Reported interobserver reliabilities for estimation of VAT and SAT volumes are as follows: CV% = 7.75% and intraclass correlation coefficient (ICC) = 0.9941 for VAT, and CV% =0.90% and ICC = 0.9999 for SAT. The intraobserver reliabilities are CV% = 2.1% and ICC =0.9996 for VAT and CV% = 0.55% and ICC = 0.9999 for SAT. |
| Selection Rationale: (included in Community Outreach) | Magnetic resonance imaging (MRI) is a well-established validated method for the estimation of VAT that has the advantage of avoiding the exposure of subjects to ionizing radiation, as occurs with computed tomography (CT). |
| Source: (included in Community Outreach and Supplemental Information) | Demerath E, Shen W, Lee M, Choh A, Czerwinski S, Siervogel R, Towne B. Approximation of total visceral adipose tissue with a single magnetic resonance image. Am J Clin Nutr. 2007 February; 85(2): 362-368. Shen W, Punyanitya M, Wang Z, Gallagher D, St-Onge MP, Albu J, Heymsfield S. Heshka S. Visceral adipose tissue: relations between single-slice areas and total volume. Am J Clin Nutr 2004 August; 80(2): 271-278. |
| Life Stage: (included in Community Outreach) | Children and Adolescent Adult Senior |
| Language: (included in Community Outreach and Supplemental Information) | English |
| Participant: (included in Community Outreach and Supplemental Information) | Children (5-9) Adolescents (10-17) and Adults (18 and up). |
| Personnel and Training Required: (included in Community Outreach and Supplemental Information) | The magnetic resonance imaging (MRI) technician should be trained in the administration of structural MRI scans with respect to positioning and instructing the subject (e.g., not to move), running the scanner console and assessing whether appropriate data were collected. Trained and quality- controlled technicians should be used to run the image analysis software. A radiologist (MD) or physicist (PhD) is needed to oversee the laboratory |
| Equipment Needs: (included in Community Outreach and Supplemental Information) | ### Major Equipment: 1.5T or greater MRI scanner ### The extraction of fat volumes from MRI data involves the transfer of images to an offline workstation, followed by the use of dedicated software such as ImageJ and Osirix and commercial programs such as SliceOmatic (Tomovision, Inc.), Analyze (AnalyzeDirect, Inc.) and Matlab (The Mathworks, Inc.) used for segmentation (Hu H 2011) . Regardless of the MRI technique, the operator must delineate the intra-abdominal boundary that separates subcutaneous adipose tissue (SAT) and visceral adipose tissue (VAT) and the perimeter of the abdomen to exclude background. An area or volume measure is then computed for 2D multi-slice and contiguous 3D data based on the identified fat voxels, respectively. The MRI scanner, scanning sequence and imaging analysis should be specified in all studies. In multi-site studies, the computerized image segmentation processing and analysis should be performed in a centralized laboratory. |
| General References: (included in Community Outreach and Supplemental Information) | Siegel MJ, Hildebolt CF, Bae KT, Hong C, White NH. Total and Intraabdominal Fat Distribution in Preadolescents and Adolescents: Measurement with MR Imaging. Radiology. Volume 242: Number 3 – March 2007, 846-856. Demerath E, Shen W, Lee M, Choh A, Czerwinski S, Siervogel R, Towne B. Approximation of total visceral adipose tissue with a single magnetic resonance image. Am J Clin Nutr. 2007 February; 85(2): 362-368. Shuster A, Patlas M, Pinthus JH, Mourtzakis M. The clinical importance of visceral adiposity: a critical review of methods for visceral adipose tissue analysis. The British Journal of Radiology, 85 (2012), 1-10. Klopfenstein BJ, Kim MS, Krisky MS, Szumowski J, Rooney WD, Purnell JQ. Comparison of 3T MRI and CT for the measurement of visceral and subcutaneous adipose tissue in humans. The British Journal of Radiology, 85 (2012), e826-e830. Greenfield JR, Samaras K, Chisholm DJ, Campbell LV. Regional intrasubject variability in abdominal adiposity limits usefulness of computed tomography. Obes Res 2002; 10:260-5. # Hu HH, Nayak KS, Goran MI. Assessment of Abdominal Adipose Tissue and Organ Fat Content by Magnetic Resonance Imaging. Obes Res 2011; 12:e504-15. |
| Mode of Administration: (included in Community Outreach and Supplemental Information) | Noninvasive radiologic assessment |
| Derived Variables: (included in Community Outreach) | Visceral fat L4-L5, subcutaneous fat L4-L5, abdominal fat L4-L5 |
| Requirements: (included in Community Outreach) | Requirements Category; Required (Yes/No):. Major equipment; Yes. Specialized training; Yes. Specialized requirements for biospecimen collection; No. Average time of greater than 15 minutes in an unaffected individual; Yes. |